## Slide 1
GRIDWISE
Predictive Grid Reliability & Equipment Risk Intelligence
A simple, explainable platform for monitoring equipment, estimating outage risk, and turning risk signals into preventive actions.
PROJECT PRESENTATION
Frontend: React + TypeScript + Vite • Backend: FastAPI + Python
Prototype • Version 1.0.0

## Slide 2
1. The Problem
Why grid operators need risk intelligence before failure happens
02
GRIDWISE • RISK INTELLIGENCE
THE CHALLENGE
• Power-grid equipment can fail because of overload, heat, age, maintenance gaps, previous failures, voltage deviation, or vibration.
• A single equipment failure can affect customers and can contribute to a larger zone outage.
• Operators need a prioritized view: what is risky, why it is risky, and what should be done next.
• Raw sensor/data tables alone do not provide an actionable decision path.
Reactive approach
1
Sensors
Readings arrive
2
Failure
Problem occurs
3
Investigation
Find cause
4
Repair
Restore service
GridWise changes the flow to: DETECT → EXPLAIN → PRIORITIZE → ACT

## Slide 3
2. Our Solution — GridWise
One dashboard connecting equipment health, outage risk, alerts and action
03
GRIDWISE • RISK INTELLIGENCE
01
DATA
Equipment + sensor + maintenance + failures
02
RISK ENGINE
Weighted, explainable 0–100 risk score
03
OUTAGE
Zone probability + customer impact
04
ACTION
Alerts + recommendations + what-if simulation
EXPLAINABLE
Why is this unit risky?
PRIORITIZED
Which zone needs attention?
ACTIONABLE
What should the team do?

## Slide 4
3. Main Functionalities
The project is organized as a complete operator workflow
04
GRIDWISE • RISK INTELLIGENCE
01
Dashboard
Fleet health, risk counts, trend, zones, recent alerts and top actions.
02
Equipment Risk
Search, filter, sort and rank equipment by risk and operating values.
03
Equipment Detail
Current readings, maintenance/failure history and risk explanation.
04
Grid Zones
Zone-level risk, equipment breakdown, outage probability and customer impact.
05
Outage Risk
Predictions, affected customers, contributors and restoration complexity.
06
Recommendations
Urgent, scheduled and monitoring actions with rationale.
07
Alerts
Threshold-based alerts with acknowledgement workflow.
08
What-If Simulator
Change load, temperature, vibration, age, maintenance, failures and weather.
09
Data + Settings
Dataset status, re-scoring, configuration and prototype data-source information.

## Slide 5
4. User Journey / UI Flow
How an operator moves from fleet overview to a concrete decision
05
GRIDWISE • RISK INTELLIGENCE
1
Dashboard
See grid health and high-risk units.
2
Equipment
Filter to critical/high assets.
3
Detail
Inspect readings and risk drivers.
4
Outage
Understand zone/customer impact.
5
Action
Follow recommendation or simulate.
GRID HEALTH
82.4
CRITICAL
7
HIGH
14
CUSTOMERS AT RISK
12,480
The interface is intentionally operator-focused: compact cards, clear risk badges, filters, tables and charts.

## Slide 6
5. System Architecture
Frontend, API layer, risk engines and data store work as separate layers
06
GRIDWISE • RISK INTELLIGENCE
FRONTEND — React + TypeScript + Vite
Pages • reusable components • charts • routing • React Query • Axios
BACKEND — FastAPI + Python
REST endpoints • validation • services • routers • CORS • error handling
INTELLIGENCE
Risk scorer • outage analyzer • recommendation engine
DATA
JSON datasets • in-memory store • loader + validator
REST API PREFIX: /api/v1
Key route groups: dashboard • equipment • zones • outage • recommendations • alerts • data • simulator

## Slide 7
6. Technology Stack
Why each technology is used in the project
07
GRIDWISE • RISK INTELLIGENCE
React 19
Component-based UI for dashboards and pages.
TypeScript
Typed frontend code and safer API/data contracts.
Vite
Fast development server and production build.
Tailwind CSS
Utility-based responsive styling and theme tokens.
Recharts
Risk trends, radar charts and data visualization.
React Router
Client-side navigation across 10 application areas.
TanStack Query
Server-state fetching, caching and invalidation.
Axios
HTTP client for frontend ↔ FastAPI communication.
FastAPI
Python REST backend with typed request/response models.
Pydantic
Validation and structured schemas for API data.
Python
Risk calculations, outage analysis and recommendations.
JSON
Prototype dataset for zones, equipment and history.

## Slide 8
7. Data Flow — From JSON to Decision
How a reading becomes a score, alert and recommendation
08
GRIDWISE • RISK INTELLIGENCE
JSON DATA
zones equipment readings maintenance failures
LOAD + VALIDATE
loader.py validator.py
RISK SCORE
weighted factors 0–100 score
ALERTS
critical threshold breach → alert
RECOMMENDATIONS
urgent / scheduled / monitor
UI / API
dashboard charts + tables
Startup flow: FastAPI lifespan → load_data() → score_all_equipment() → store is ready for the UI.
The current prototype uses simulated JSON data; the Data page explicitly communicates that real CSV/API ingestion is a future phase.

## Slide 9
8. Core Logic — Equipment Risk Score
A transparent weighted multi-factor model; every score can be explained
09
GRIDWISE • RISK INTELLIGENCE
RISK SCORE
Σ (normalized factor × weight) × 100
Each input is normalized to a 0–1 range before weighting.
Load
25%
Temperature
20%
Age
18%
Maintenance
15%
Failure
12%
Voltage
6%
Vibration
4%
Risk levels
LOW
< 40
MEDIUM
40–59.9
HIGH
60–79.9
CRITICAL
≥ 80
Then the score is transformed into an estimated outage probability using a logistic function.

## Slide 10
9. Outage Risk Logic
Equipment risk is combined at zone level to estimate outage probability and impact
10
GRIDWISE • RISK INTELLIGENCE
ZONE OUTAGE PROBABILITY
1 − Π (1 − pᵢ)
pᵢ = outage contribution probability of equipment i
1
Equipment scores
Each unit has risk + outage probability
2
Zone aggregation
Combine independent failure probabilities
3
Impact estimate
Customers + downtime + economic tier
EXPECTED CUSTOMERS
Σ pᵢ × customersᵢ
WORST CASE
Total zone customers
DOWNTIME
Weighted by type
RESTORATION
Complexity

## Slide 11
10. Alerts & Recommendations
The system converts risk thresholds into operational next steps
11
GRIDWISE • RISK INTELLIGENCE
ALERT ENGINE
Automatic alert generation
• After scoring, the service checks critical risk thresholds.
• A critical unit can generate a RISK_ELEVATED alert.
• Existing unacknowledged alerts are checked to avoid duplicate alert types.
• The Alerts page supports filtering and acknowledgement.
RULE-BASED ACTIONS
URGENT
Risk ≥ 80 + load > 85%
Emergency inspection
URGENT
Maintenance > 365 days
Perform overdue maintenance
URGENT
Temperature > 90°C
Investigate thermal condition
SCHEDULED
Risk ≥ 60 + maintenance > 180d
Maintenance within 7 days
SCHEDULED
Age > 25 years
End-of-life assessment
MONITOR
Risk ≥ 40
Increase monitoring frequency
Important: recommendations are deterministic prototype rules, not a trained ML model.

## Slide 12
11. What-If Simulator
Test scenarios without changing the live store
12
GRIDWISE • RISK INTELLIGENCE
Interactive inputs
Temperature
45 → 95 °C
Load
40 → 100 %
Vibration
0 → 10 mm/s
Age
0 → 40 years
Maintenance gap
0 → 365+ days
Weather
Normal / Wind / Heat / Storm
Scenario result
78
HIGH RISK
Load stress
82%
Thermal stress
76%
Age
55%
Maintenance
48%
Stateless API call
The simulator calculates a scenario response but does not persist scores or recommendations.

## Slide 13
12. Data Management & Reliability
Validation, re-scoring and clear prototype boundaries
13
GRIDWISE • RISK INTELLIGENCE
LOAD
JSON files are loaded at startup.
• zones.json
• equipment.json
• readings.json
• maintenance.json
• failures.json
• alerts.json
VALIDATE
Invalid records are excluded and logged.
• Structured validation
• Warnings for bad records
• Store populated only with valid data
RE-SCORE
All equipment can be recalculated on demand.
• Latest reading used
• Risk + recommendations regenerated
• New critical alerts created
PROTOTYPE LIMITATION
Current data is simulated JSON generated by the project. Real CSV/API ingestion is identified as a future phase.
This makes the demo reproducible and safe for a hackathon/prototype environment.

## Slide 14
13. Benefits, Limitations & Future Scope
What the prototype delivers today — and how it can evolve
14
GRIDWISE • RISK INTELLIGENCE
TODAY
• Explainable equipment risk scoring
• Zone-level outage estimation
• Customer impact estimation
• Actionable recommendations
• Alerts + acknowledgement
• Interactive what-if analysis
LIMITATIONS
• Simulated JSON data
• Heuristic/rule-based scoring
• Prototype estimates, not operational guarantees
• No live SCADA/IoT integration yet
• No production authentication/authorization shown
NEXT PHASE
• Live sensor/SCADA/API ingestion
• Historical ML failure prediction
• Model calibration with real utility data
• Geospatial grid maps and topology
• Role-based access + audit trail
• Cloud deployment and scaling
Core idea: move grid operations from “react after failure” toward “predict, explain and act before failure.”

## Slide 15
14. Conclusion
GridWise turns complex grid data into a clear operational decision path
15
GRIDWISE • RISK INTELLIGENCE
DATA
→
RISK
→
OUTAGE
→
ACTION
• The frontend gives operators a unified, responsive view of the grid.
• The FastAPI backend separates data, scoring, outage analysis and recommendations.
• The risk model is weighted and explainable, making the score easier to defend.
• The prototype clearly separates current capabilities from future live-data/ML expansion.
THANK YOU
Questions / Demo